## Lot-1
Sl. No. | Item Description | Unit | Quantity |  | Total Qty. | Ex-works (Nu/INR) | Unit Price (Nu/INR) | Total Price (Nu/INR) | Remarks
|  |  | Main NLDC | B/up NLDC
[5 empty] | 1 | 2 | 3 | 4 = 1 x 3
A | MAIN EQUIPMENT
1 | Application Software
1.1 | SCADA applications | Lot | 1 | 1 | 2 |  |  | 0
1.2 | ICCP Communication | Lot | 1 | 1 | 2 |  |  | 0
1.3 | Network Management System | Lot | 1 | 1 | 2 |  |  | 0
1.4 | Historian System (ISR) | Lot | 1 | 1 | 2 |  |  | 0
1.5 | EMS applications
a) | - Network Topology | Lot | 1 | 1 | 2 |  |  | 0
b) | - State Estimation | Lot | 1 | 1 | 2 |  |  | 0
c) | - Optimal Power flow Analysis | Lot | 1 | 1 | 2 |  |  | 0
d) | - Bus Load Forecast (BLF) | Lot | 1 | 1 | 2 |  |  | 0
e) | - Contingency analysis | Lot | 1 | 1 | 2 |  |  | 0
f) | - Load Forecasting | Lot | 1 | 1 | 2 |  |  | 0
1.6 | Web Server Application | Lot | 1 | 1 | 2 |  |  | 0
1.7 | Dispatcher Training Simulator (DTS) | Lot | 1 | - | 1 |  |  | 0
1.8 | Centralized Management Console applications | Lot | 1 | 1 | 2 |  |  | 0
1.9 | Patch Management software | Lot | 1 | 1 | 2 |  |  | 0
1.1 | Image Backup software | Lot | 1 | 1 | 2 |  |  | 0
1.11 | Antivirus server software | Lot | 1 | 1 | 2 |  |  | 0
2 | Computer System Hardware
2.1 | Servers | [6 empty] | 0
a) | SCADA/EMS Server | Nos. | 2 | 2 | 4 |  |  | 0
b) | Historian System (ISR) Server | Nos. | 2 | 2 | 4 |  |  | 0
c) | ICCP Server | Nos. | 2 | 2 | 4 |  |  | 0
d) | Communication Front End (CFE) Sever | Nos. | 2 | 2 | 4 |  |  | 0
e) | NMS Server | Nos. | 2 | 2 | 4 |  |  | 0
f) | Web/Replica Data/ Antivirus/ Patch Management Server | Nos. | 2 | 2 | 4 |  |  | 0
g) | Centralized Management Console / Image Backup | Nos. | 1 | 1 | 2 |  |  | 0
h) | Dispatcher Training Simulator Server | Nos. | 1 | - | 1 |  |  | 0
2.2 | Dual TFT Monitor | [6 empty] | 0
a) | Operator Workstation console | Nos. | 5 | 2 | 7 |  |  | 0
b) | Workstation for DTS | Nos. | 2 | - | 2 |  |  | 0
c) | Workstation for DDS | Nos. | 1 | - | 1 |  |  | 0
2.3 | Engineering Laptop | Nos. | 3 | 1 | 4 |  |  | 0
2.4 | Next Generation Firewall (NGFW) | [6 empty] | 0
a) | External NGFW | Nos. | 1 | 1 | 2 |  |  | 0
b) | Internal NGFW | Nos. | 2 | 2 | 4 |  |  | 0
2.5 | LAN switches | [6 empty] | 0
a) | Dual SCADA/EMS LAN | Lot | 1 | 1 | 2 |  |  | 0
b) | Dual CFE LAN | Lot | 1 | 1 | 2 |  |  | 0
c) | Dual DMZ LAN | Lot | 1 | 1 | 2 |  |  | 0
d) | DTS LAN | Nos. | 1 | - | 1 |  |  | 0
2.6 | Auxiliary Storage for Historian | Nos. | 1 | 1 | 2 |  |  | 0
2.7 | NAS Box | Nos. | 1 | 1 | 2 |  |  | 0
2.8 | Server Rack With IP based KVM Switch | Nos. | 3 | 3 | 6 |  |  | 0
2.9 | Multifunction Laser Printer | Nos. | 1 | - | 1 |  |  | 0
3 | Time and Frequency System displays
3.1 | Time & Frequency System (GPS based) | Lot | 1 | 1 | 2 |  |  | 0
3.2 | Digital display for Day | Nos. | 1 | 1 | 2 |  |  | 0
3.3 | Digital display for Time | Nos. | 1 | 1 | 2 |  |  | 0
3.4 | Digital display for Frequency | Nos. | 2 | 2 | 4 |  |  | 0
4 | ICCP Integration | [6 empty] | 0
4.1 | Integration with Indian NLDC | Lot | 1 | 1 | 2 |  |  | 0
4.2 | Integration with DMS | Lot | 1 | 1 | 2 |  |  | 0
5 | Furniture | Lot | 1 | 1 | 2 |  |  | 0
6 | Video Projection System | Lot | 1 |  | 1 |  |  | 0
B | MISCELLANEOUS
1 | Heavy duty Air Conditioner | Lot | - | 1 | 1 |  |  | 0
2 | Uninterruptible Power Supply (UPS) | Lot | 1 | 1 | 2 |  |  | 0
3 | VRLA maintenance-free Battery | Lot | 1 | 1 | 2 |  |  | 0
4 | Input ACDB | Lot | 1 | 1 | 2 |  |  | 0
5 | Output ACDB | Lot | 1 | 1 | 2 |  |  | 0
6 | Civil works | Lot | 1 |  | 1 |  |  | 0
C | TRAINING FOR SCADA/EMS
1 | Computer System Software and Hardware | Lot | 1 |  | 1 |  |  | 0
2 | Database & Display, Applications Software, and Historian | Lot | 1 |  | 1 |  |  | 0
3 | NMS and Cyber Security | Lot | 1 |  | 1 |  |  | 0
4 | Operator Applications Trainings | Lot | 1 |  | 1 |  |  | 0
5 | Auxiliary Power Supply systems | Lot | 1 |  | 1 |  |  | 0
D | MANDATORY SPARES
1 | Servers including all main memory, auxiliary memory, interface cards complete one of each type | Nos. | 2 |  | 2 |  |  | 0
2 | LAN switch one of each type | Nos. | 2 |  | 2 |  |  | 0
3 | Router | Nos. | 1 |  | 1 |  |  | 0
E | MAINTENANCE SUPPORT
1 | Annual Maintenance Contract | [6 empty] | 0
1.1 | Year 1 | Year 1 | 1 |  | 1 |  |  | 0
1.2 | Year 2 | Year 2 | 1 |  | 1 |  |  | 0
1.3 | Year 3 | Year 3 | 1 |  | 1 |  |  | 0
1.4 | Year 4 | Year 4 | 1 |  | 1 |  |  | 0
1.5 | Year 5 | Year 5 | 1 |  | 1 |  |  | 0
2 | Annual Cyber Security Auditing | [6 empty] | 0
2.1 | 1st Year | Year 1 | 1 |  | 1 |  |  | 0
2.2 | 2nd Year | Year 2 | 1 |  | 1 |  |  | 0
2.3 | 3rd Year | Year 3 | 1 |  | 1 |  |  | 0
2.4 | 4th Year | Year 4 | 1 |  | 1 |  |  | 0
2.5 | 5th Year | Year 5 | 1 |  | 1 |  |  | 0
3 | Annual Refresher Course | [6 empty] | 0
3.1 | 1st Year | Year 1 | 1 |  | 1 |  |  | 0
3.2 | 2nd Year | Year 2 | 1 |  | 1 |  |  | 0
3.3 | 3rd Year | Year 3 | 1 |  | 1 |  |  | 0
F | INSTALLATION, TESTING, AND COMMISSIONING
1 | Installation, Testing, and commissioning of Video Projection System | Lot | 1 |  | 1 |  |  | 0
2 | Installation, Testing, and Commissioning of all the SCADA/EMS systems as required for operation of all the systems as per the technical specifications. | Lot | 1 | 1 | 2 |  |  | 0
3 | Installation, Testing, and commissioning of Auxiliary Power Supply such as ACDB, UPS, and VRLA battery banks | Lot | 1 | 1 | 2
4 | Installation, Testing, and commissioning of Air Conditioners (AC) | Lot |  | 1 | 1
Total Amount in Figure (Nu) | [6 empty] | 0